CITY OF DEERWOOD

PO BOX 187

DEERWOOD, MN  56444

Permit Application Form:  Complete and sign a permit application.  Application forms are available at City Hall.

General Information

When is a Roofing Permit Required?  A roofing permit is required for all dwellings, garages and commercial/business use structures.

For re-roofing of a commercial, industrial or business type structures contact the building official for specific requirements.

Required Inspection:  A roofing inspection is required when the roofing is complete.  A ladder must be provided on site.  For all inspections call 612-986-7644 48 hours in advance.

ASPHALT SHINGLES

Manufacturer’s Installation Instruction:  Always refer to the manufacturer’s installation requirements for specific installation requirements.

Ice Protection:  An ice barrier that consists of at least 2 layers of underlayment cemented together or a self-adhering polymer modified bitumen sheet, shall be used in lieu of underlayment and extend from the eaves edge to a point 24” inside the exterior wall line of the building. (IRC R905.2.7.1)

# Text boxes

“RE-ROOFING”

PERMIT REQUIREMENTS

The following information must be submitted to the Building Official before a roofing permit can be processed and approved.

More detailed information is listed below.

After a preliminary review, additional information may be required.